## LOG
| version(43001) | R-version(44331) | Outdoor temp | Supply temp | Return temp | Hot water load | Hot water top | Condensor Out | Hot Gas Temp | Evaporator temp | Suction temp | Exhaust air temp | Vented air temp | Ext.sensor | BS1 Air flow | Air flow reference | Addition power[kW] | Supply Flow | Alarm number | Calc. Supply | Degree minutes | Outdoor average | Comp Freq. ACT | PCA Base | Prio
Divisors | 1 | 1 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 100 |  | 1 | 10 | 10 | 10 | 10 | 1 | 1